________________________________________________

# Laboratory Name

# Fecal Coliform Colilert®18 Quanti-tray 2000

Incubator Temperature ID#_____________								Colilert 18 Medium Lot #:________________

Analyst Initials Set-up:________________								Media Expiration Date:______________

Set-up Date /Time:____________________								Sample Bottle Lot #:________________

| Sample Information | Biochemical Reaction (ONPG) Fecal Coliform |
| --- | --- |
| Sample ID# (Location) | Sample Volume mL | #Positive Large Wells (yellow color) | #Positive Small Wells (yellow color) | MPN Index | Fecal Coliform per 100mL |

Quality Control:

| Sterility (1/week) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Positive Culture (1/week) |  |  |  |  |  |
| Sealer Check (1/month) |  | N/A | N/A | N/A | N/A |

Color comparator (exp. Date):	____________________

Test Results Recorded By:________________________					(Yellow = Positive Fecal Coliform Result)

Date Time Read: _______________________________