# WATER QUALITY INDICATORS

Water quality data are used to describe the condition of a waterbody, to help understand why that condition exists, and to provide some clues as to how it may be improved.  Water quality indicators include physical, chemical, and biological measurements.  The current State of S.C. Monitoring Strategy describes what parameters are sampled, where they are sampled, and how frequently. It is available on our website at www.scdhec.gov/environment/water/docs/strategy/pdf.

MACROINVERTEBRATE COMMUNITY

Macroinvertebrates are aquatic insects and other aquatic invertebrates associated with the substrates of waterbodies (including, but not limited to, streams, rivers, tidal creeks, and estuaries).  Macroinvertebrates can be useful indicators of water quality because these communities respond to integrated stresses over time that reflect fluctuating environmental conditions.  Community responses to pollution may be assessed through interpretation of diversity, known organism tolerances, and in some cases, relative abundances and feeding types.

FISH TISSUE

Many pollutants occur in such low concentrations in the water column that they are usually below analytical detection limits.  Over time many of these chemicals may accumulate in fish tissue to levels that are easily measured.  By analyzing fish tissue it is possible to see what pollutants may be present in waterbodies at very low levels.  This information can also be used to determine if consumption of the fish poses any undue human health concerns and to calculate consumption rates that are safe.

DISSOLVED OXYGEN

Oxygen is essential for the survival and propagation of aquatic organisms.  If the amount of oxygen dissolved in water falls below the minimum requirements for survival, aquatic organisms or their eggs and larvae may die.  A severe example is a fish kill.  Dissolved oxygen (DO) varies greatly due to natural phenomena, resulting in daily and seasonal cycles.  Different forms of pollution also can cause declines in DO.

Changes in DO levels can result from temperature changes or the activity of plants and other organisms present in a waterbody.  The natural diurnal (daily) cycle of DO concentration is well documented.  Dissolved oxygen concentrations are generally lowest in the morning, climbing throughout the day due to photosynthesis and peaking near dusk, then steadily declining during the hours of darkness.

There is also a seasonal DO cycle in which concentrations are greater in the colder, winter months and lower in the warmer, summer months.  Streamflow (in freshwater) is generally lower during the summer and fall, and greatly affects flushing, reaeration, and the extent of saltwater intrusion, all of which affect dissolved oxygen values.

BIOCHEMICAL OXYGEN DEMAND

Five-day biochemical oxygen demand (BOD5) is a measure of the amount of dissolved oxygen consumed by the decomposition of carbonaceous and nitrogenous matter in water over a five-day period. The BOD5 test indicates the amount of biologically oxidizable carbon and nitrogen that is present in wastewater or in natural water.  Matter containing carbon or nitrogen uses dissolved oxygen from the water as it decomposes, which can result in a dissolved oxygen decline.  The quantity of BOD5

discharged by point sources is limited through the National Pollutant Discharge Elimination System (NPDES) permits issued by the Department.  The discharge of BOD5 from a point source is restricted by the permits so as to maintain the applicable dissolved oxygen standard.

pH

pH is a measure of the hydrogen ion concentration of water, and is used to indicate degree of acidity.  The pH scale ranges from 0 to 14 standard units (SU).  A pH of 7 is considered neutral, with values less than 7 being acidic, and values greater than 7 being basic.

Low pH values are found in natural waters rich in dissolved organic matter, especially in Coastal Plain swamps and black water rivers.  The tannic acid released from the decomposition of vegetation causes the tea coloration of the water and low pH.  High pH values in lakes during warmer months are associated with high phytoplankton (algae) densities.  The relationship between phytoplankton and daily pH cycles is well established.  Photosynthesis by phytoplankton consumes carbon dioxide during the day, which results in a rise in pH.  In the dark, phytoplankton respiration releases carbon dioxide.  In productive lakes, carbon dioxide decreases to very low levels during the day, causing the pH to rise to 9-10 SU.

## Escherichia coli and Enterococcus

Coliform bacteria are present in the digestive tract and feces of all warm-blooded animals, including humans, poultry, livestock, and wild animal species.  While coliform bacteria themselves are not generally harmful, they serve as indicators that other disease-causing microbes (pathogens) may be present.  Diseases that can be transmitted to humans through water contaminated by improperly treated human or animal waste are the primary concern.

The coliform genus Enterococcus and species Escherichia coli are coliform bacteria indicators that are considered to be more specific to sewage and fecal sources than the general measure of the fecal coliform bacteria group.

Public health studies have established correlations between E. coli and Enterococcus numbers in recreational waters and the risk of adverse health effects.  Based on these relationships, the USEPA and SCDHEC have developed enforceable standards for surface waters to protect against adverse health effects from various recreational uses.  Proper waste disposal or sewage treatment prior to discharge to surface waters minimizes this type of pollution.

Escherichia coli is used as the indicator in freshwaters but is not appropriate for saltwater environments.  In saltwater Enterococcus is the indicator for recreational uses.  The Shellfish Sanitation Program regulations and standards are based on the fecal coliform bacteria group.

At present, it is difficult to distinguish between waters contaminated by animal waste and those contaminated by human waste.

NUTRIENTS

Oxygen demanding materials and plant nutrients are common substances discharged to the environment by man’s activities, through wastewater facilities and by agricultural, residential, and stormwater runoff.  The most important plant nutrients, in terms of water quality, are phosphorus and nitrogen.  In general, increasing nutrient concentrations are undesirable due to the potential for accelerated growth of aquatic plants, including algae.  Nuisance plant growth can create imbalances in the aquatic community, as well as aesthetic and access issues. High densities of phytoplankton (algae) can cause wide fluctuations in pH and dissolved oxygen.

The forms of nitrogen routinely analyzed at SCDHEC stations are ammonia and ammonium nitrogen (NH3/NH4), total Kjeldahl nitrogen (TKN), and nitrite and nitrate nitrogen (NO2/NO3).  Ammonia and ammonium are readily used by plants.  TKN is a measure of organic nitrogen and ammonia in a sample.  Nitrate is the product of aerobic transformation of ammonia, and is the most common form used by aquatic plants.  Nitrite is usually not present in significant amounts.  Total nitrogen is the sum of TKN and NO2/NO3.

Total phosphorus (TP) is commonly measured to determine phosphorus concentrations in surface waters.  TP includes all of the various forms of phosphorus (organic, inorganic, dissolved, and particulate) present in a sample.

CHLOROPHYLL a

Nuisance plant growth can create imbalances in the aquatic community, as well as aesthetic and access issues.  Invasive growth of rooted aquatic vegetation can clog boat motors and create disagreeable conditions for swimming and water skiing.  High densities of microscopic algae (phytoplankton) can cause wide fluctuations in pH and dissolved oxygen, and can cause undesirable shifts in the composition of aquatic life, or even fish kills. Chlorophyll a is a dominant photosynthetic pigment in plants and is used as an indicator of the density of phytoplankton in the water column. The process of eutrophication from increased plant nutrients is particularly noticeable in lakes.  Continuous flushing in streams prevents the development of significant phytoplankton populations and the resultant chemical changes in water quality.

TURBIDITY

Turbidity is an expression of the scattering and absorption of light through water.  The presence of clay, silt, fine organic and inorganic matter, soluble colored organic compounds, and plankton and other microscopic organisms increases turbidity.  Increasing turbidity can be an indication of increased runoff from land.  It is an important consideration for drinking water as finished water has turbidity limits.

TOTAL SUSPENDED SOLIDS

Total Suspended Solids (TSS) are the suspended organic and inorganic particulate matter in water.  Although increasing TSS can also be an indication of increased runoff from land, TSS differs from turbidity in that it is a measure of the mass of material in, rather than light transmittance through, a water sample.  High TSS can adversely impact fish and fish food populations and damage invertebrate populations.  There are no explicit State standards for TSS.

HEAVY METALS

Concentrations of cadmium, chromium, copper, lead, mercury, and nickel in water are routinely measured by the Department to compare to State standards intended to protect aquatic life and human health. These metals occur naturally in the environment, and many are essential trace elements for plants and animals. Human activities, such as land use changes and industrial and agricultural processes have resulted in an increased flux of metals from land to water.  Atmospheric inputs are also recognized as important sources of metals to aquatic systems.  Metals are released to the atmosphere from the burning of fossil fuels (coal, oil, gasoline), wastes (medical, industrial, municipal), and organic materials.  The metals are then deposited on land and in waterways from the atmosphere via rainfall and attached to particulates (dry deposition).